## Slide 1: INTRODUCTION
We Are Team Ajax, wanted to come up with an innovative and completely new idea to tackle the problem.

## Slide 2: Challenges in Present system
1. Difficult to find out how many street lights are faulty.
2. Not able to locate that, which street light is not functioning particularly.
3. CHS ( Complain Handling system )

## Slide 3: Difficult to find out how many street lights are faulty.
This problem is very common in our electric department. To find out how many street light is not working. Because there is still no perfect technology for this task and the number of street lights is too large.
Not able to locate that, which street light is not functioning particularly.
In current technology we cannot determine particularly which street light is working or not. Currently we are using CCMS ( Centralised control and monitoring systems ) which is only capable to display the power failure details of a particular switching point but it cannot show the data of a particular street light.
CHS ( Complaint Handling System )
Accuracy of the CHS is not so good. Also CHS not have any filter, that’s why the problem handling is high.

## Slide 4
OUR SOLUTION
AUTOMATED ACKNOWLEDGEMENT SYSTEM INTEGRATED TO EACH POLE
GIVES THE FEEDBACK OF LED’S STATUS TO ITS MASTER (CCMS).
MONITORING SYSTEM FOR THE WHOLE ACKNOWLEDGEMENTS.
DEFECTIVE LED POLES WITH THEIR SERIAL NUMBER AND ASSOCIATED ADDRESS

## Slide 5: TECHNOLOGY USED
BUS TOPOLOGY : Between master and slave modules.
EMBEDDED SYSTEM : 1. Atmega328 microcontroller
2. Light Dependent Resistor
3. AJAX-0N
SLIDING WINDOW PROTOCOL : A feedback system for every predefined data set.

## Slide 6
DEMONSTRATION
OF IDEA
MASTER
(AJAX-M)
AJAX-02
AJAX-03
AJAX-04
AJAX-01
AJAX-01
CONTROL
ROOM
01WX
02WX
03WX
04WX
(CCMS)
STREET LIGHTS
LDR
ADDRESSING FORMAT
Polenumber + W + Wardnumber
Ex:- 01W20
02W05

## Slide 7
02WX
03WX
04WX
01 WX
01
02
03
04
05
WX
Compare
(Missing data)
DATA
MASTER
05WX
A
B
A
B
Null 02WX Null Null 05WX
01WX 02WX 03WX 04WX 05WX
Null 02WX Null Null 05WX
01WX 02WX 03WX 04WX 05WX
02WX Comparisiom are faulty 05WX
Ward No: X
Pole No: 2,5
Are Faulty or Off
SLAVE
Final Output
Pole Lights
ON ON ON

## Slide 8: MAIN HIGHLIGHT
AJAX-0N is Made in India
Cost effective
Highly accurate
Flexible device
Small in size
Less Number of Component
Real time Acknowledgement